[image: image1.png]MANUAL KNOB

24 HR. OUTDOOR TIMER

TO SET TIMER:
. Insert ON (GREEN) and OFF (RED) trippers
into dial at desired ON and OFF times.
. Turn dial CLOCKWISE —3 one or more
complete revolutions until the arrowhead is
aligned with time-of-day (AM or PM) in window.
. Turn lamp or appliance ON.
Plug extension cord, lamp or appliance into
TIME-OF-DAY ARROW  timers receptacle and plug timer cord into
wall outlet, suitable for "wet locations" if outdoors.
FOR EARLY ON OR OFF OPERATION, Turn manual knob counter
clockwise -s——— to desired ON or OFF position, Timer will follow
next scheduled automatic operation.

IN CASE OF POWER FAILURE, RESET TIMER, (SEE STEP 2)
WARNING: To avoid shock hazard, timer must be installed VERTI-
CALLY and at least 3 ft. ABOVE ground level. WATTAGE OF LAMPS
OR APPLIANCES BEING CONTROLLED SHOULD NOT EXCEED
CAPACITY OF TIMER. WHEN USED WITH EXTENSION CORD OR
DEVICES DO NOT EXCEED THEIR RATING OR 10 AMPS.

MODEL: HB35R 10 AMP (1200 WATT) RESISTIVE; 10 AMP

(1200 WATT) TUNGSTEN; 10FLA (60 LRA) MOTOR-120 VOLT 60 HzZ.
INTERNMIATIC INCORPORATED (3B LR3730 LISTED
154HB22930 o= 8851

2.375”





